SAFETY and SECURITY ASSESSMENT

Name of School: _____________________________________Date of Assessment __________________ Start Time __________ End Time __________ Assessed By: ____________________________________ Community Partners & Guests: ___________________________________________________________

Santa Cruz County Safe Schools Consortia Safety & Security Ass ess mentNEIGHBORHOOD & SURROUNDING AREA YES NO COMMENTS 1. Adequate school zone & speed signage in surrounding area. 2. Neighborhood watch or partnership has been established. 3. Vehicles drive appropriately in school zone. 4. Sidewalks & crosswalks are available for student walkers. 5. Neighborhood is considered safe and an asset to the school. 6. Other: 7. 8. BUILDING EXTERIOR YES NO COMMENTS 1. Roofs are accessible only by a ladder. 2. “Drug-Free School Zone” & “Weapon-Free School Zone” signs are posted. 3. “Visitors Must Report To Office” signs are posted at all exterior entrances. 4. Visitor entrance is clearly identified. 5. “Supervision Hours” signs are posted in prominent locations. 6. Adequate lighting at all exterior entrances. 7. Adequate lighting around building. 8. School grounds are free of graffiti & trash. 9. Shrubs/foliage trimmed – good line of vision. 10. Exterior doors & locks are in good condition. 11. Exterior doors & windows are locked before & after school. 12. Exterior windows & locks are in good condition. 13. Basement windows are protected – grills, etc. 14. Blinds/curtains closed in rooms containing computers & valuable equipment. 15. Outside entrances are numbered to direct emergency vehicles. 16. School grounds are fenced to prevent unauthorized vehicles & public access. 17. Dangerous equipment & utilities are protected & secured. 18. Exterior door to kitchen is kept locked, has peephole & adequate doorbell. 19. Exterior entrance to kitchen has adequate lighting. 20. Good visibility of bike racks from building. 21. Intercom Notification System works adequately in exterior gathering areas. 22. Other

F-34

Santa Cruz County Safe Schools Consortia 				Safety & Security Assessment

| ARRIVAL & DISMISSAL | YES | NO | COMMENTS |
| --- | --- | --- | --- |
| 1. Supervision is in place before students arrive. (note time of first student arrivals) |  |  |  |
| 2. Bus zones & parent drop-off/pick-up zones are separate. |  |  |  |
| 3. Bus loading zones have restricted access & are clearly marked. |  |  |  |
| 4. Bus area is supervised when students are present. (note time of first supervisor) |  |  |  |
| 5. Parent drop-off/pick-up area is clearly marked. |  |  |  |
| 6. Parent drop-off/pick-up area is supervised when students are present. |  |  |  |
| 7. Sidewalks are provided for student walkers. |  |  |  |
| 8. Crossing guards are provided to assist elementary children. |  |  |  |
| 9. Vehicles drive within appropriate speed limit. |  |  |  |
| 10. Adequate lighting in parking lots. |  |  |  |
| 11. Adequate number of parking spaces for staff & visitors. |  |  |  |
| 12. Student access to parking lot is restricted for Elementary & Middle School. |  |  |  |
| 13. Student access to parking lots is restricted to arrival/dismissal for high school. |  |  |  |
| 14. Student parking is available by permit only. |  |  |  |
| 15. Parking lot is supervised during arrival & dismissal. |  |  |  |
| 16. Other: |  |  |  |
| 17. |  |  |  |
| 18. |  |  |  |
| HALLS & COMMON AREAS | YES | NO | COMMENTS |
| 1. School rules are posted and clearly visible throughout school. |  |  |  |
| 2. Students interviewed know school rules. |  |  |  |
| 3. Students wear visible hall passes when not in class (during class-time). |  |  |  |
| 4. Halls are supervised during passing time. |  |  |  |
| 5. Common areas are supervised when students are present. |  |  |  |
| 6. Unused entrances are locked during school day. |  |  |  |
| 7. Halls & common areas are free of graffiti & trash. |  |  |  |
| 8. Students adhere to school dress code. |  |  |  |
| 9. Students adhere to hands-off policy. |  |  |  |
| 10. Students interviewed know emergency procedures. |  |  |  |
| 11. Fire extinguishers are checked annually by fire inspection company. |  |  |  |
| 12. Fire extinguishers are checked monthly by school staff: (pin in place, gauge in green zone, properly labeled.) |  |  |  |
| 13. Fire extinguishers that are not visible have visible signage. |  |  |  |
| 14. Combustible decorations/student work is within safety limits: (does not exceed 20% of wall or door surfaces.) |  |  |  |
| 15. Fire exits, doors, corridors & stairways are free of obstructions & at least 22 inches wide. |  |  |  |
| 16. Exit doors open & close easily & exit signs are well lit. |  |  |  |
| 17. Doors with panic hardware are free of locks/latches/chains. |  |  |  |
| 18. Other: |  |  |  |
| 19. |  |  |  |
| 20. |  |  |  |

F-35

Santa Cruz County Safe Schools Consortia 				Safety & Security Assessment

| CUSTODIAL ROOMS & PROCEDURES | YES | NO | COMMENTS |
| --- | --- | --- | --- |
| 1. Mechanical rooms & custodial rooms are secured at all times. |  |  |  |
| 2. Custodians carry two-way radio for communication with office & administration. |  |  |  |
| 3. Custodians have been trained on building emergency procedures & participate in all drills. |  |  |  |
| 4. Damage caused by graffiti, broken glass, & other vandalism are immediately repaired (before school opens). |  |  |  |
| 5. Combustible waste materials are stored in non-combustible containers & emptied regularly. |  |  |  |
| 6. Fire protection equipment is free of obstructions (alarm panels, 5 extinguishers, sprinkler control valves.) |  |  |  |
| 7. There is 18 inches of clearance below sprinkler heads. |  |  |  |
| 8. Attic scuttle openings are closed. |  |  |  |
| 9. Breakers in electrical panels are labeled; spares are in off position. |  |  |  |
| 10. Electrical panels have 36 inches of clearance. |  |  |  |
| 11. All containers including spray bottles are properly labeled. |  |  |  |
| 12. MSDS notebook location is known & notebook is easily accessible. |  |  |  |
| 13. Procedures are in place for unlocking/locking doors before, during & after school. |  |  |  |
| 14. High-risk areas (main office, cafeteria, store, computers, etc) are secured after hours. |  |  |  |
| 15. Unused portions of building are secured after hours. |  |  |  |
| 16. Other: |  |  |  |
| PLAYGROUNDS & SOCIAL AREAS | YES | NO | COMMENTS |
| 1. Play areas are fenced for the safety of students. (vehicular access restricted) |  |  |  |
| 2. Play equipment is in good condition. |  |  |  |
| 3. Surface of play area is in good condition. |  |  |  |
| 4. Play areas are free of hazards. |  |  |  |
| 5. Good visibility in play areas (look for barriers to line of sight) |  |  |  |
| 6. Interaction between students is generally positive. |  |  |  |
| 7. Play/Social areas are adequately supervised when students are present. (supervisor – student ratios, size of areas, barriers, etc) |  |  |  |
| 8. Active Supervision principles are applied consistently: (movement, scanning, positive interactions with students, pre-corrections, consequating rule infractions.) |  |  |  |
| 9. Other: |  |  |  |
| KITCHEN & EATING AREAS | YES | NO | COMMENTS |
| 1. Access to kitchen by students is restricted and/or with adult supervision only. |  |  |  |
| 2. Eating areas are supervised when students are present. |  |  |  |
| 3. Adequate seating in eating areas. |  |  |  |
| 4. Eating areas are clean and free of trash. |  |  |  |
| 5. Traffic flow of students is organized and time waiting in line is minimal. |  |  |  |
| 6. Cleaning supplies are properly marked and stored away from food. |  |  |  |
| 7. Interior entrance to kitchen is locked when staff is not present. |  |  |  |
| 8. Knives & dangerous objects are stored in a secured place. |  |  |  |
| 10. All kitchen staff have been trained in emergency procedures & participate in drills. |  |  |  |
| 11. Walk in refrigeration units have easy escape doors. |  |  |  |
| 12. Other: | : | : |  |

F-36

Santa Cruz County Safe Schools Consortia 				Safety & Security Assessment

| RESTROOMS | YES | NO | COMMENTS |
| --- | --- | --- | --- |
| 1. Restroom stalls are equipped with doors or fire resistant curtains. |  |  |  |
| 2. Restrooms/locker rooms have adequate lighting.. |  |  |  |
| 3. Restrooms are clean, odor free, and free of trash. |  |  |  |
| 4. Restroom walls, mirrors, & interior stall doors are free of graffiti. |  |  |  |
| 5. Other: |  |  |  |
| CLASSROOMS | YES | NO | COMMENTS |
| 1. Classroom doors are locked & lights are turned off when room is vacant. |  |  |  |
| 2. Emergency procedures (Code Yellow/Red) posted in all rooms. |  |  |  |
| 3. Evacuation route map posted in all rooms. |  |  |  |
| 4. Intercom system and phone work in all rooms. |  |  |  |
| 5. Cover plates are on all electrical junction boxes (outlets/switches). |  |  |  |
| 6. Electrical outlets within 6 feet of water are GFCI protected. |  |  |  |
| 7. Power strips are used in place of extension cords. |  |  |  |
| 8. Cords are properly secured to avoid tripping. |  |  |  |
| 9. A system is in place to track student exit & return. Hall passes are used consistently. |  |  |  |
| 10. Staff wears visible ID. |  |  |  |
| 11. Staff regularly teach social skills/conflict resolution curriculum. (How many lessons per year?) |  |  |  |
| 12. Classroom rules are posted and consistent with school-wide rules. |  |  |  |
| 13. Staff has been trained on building emergency procedures during current school year. |  |  |  |
| 14. Other: |  |  |  |
| OFFICE & ADMINISTRATION | YES | NO | COMMENTS |
| 1. Lobby entrance is visible from front office.. |  |  |  |
| 2. Visitors, parents & volunteers are required to sign in at office & wear visible ID. |  |  |  |
| 3. Student sign-out log is required. |  |  |  |
| 4. Adults not listed on student registration form are required to have written permission to pick up students. |  |  |  |
| 5. Local fire & police departments have current school maps, contact lists & keys to school buildings. |  |  |  |
| 6. Two-way radios are assigned to & carried by staff (administrators, custodians, front office, outside classes). |  |  |  |
| 7. Portables have front office communication & receive fire alarm notification. |  |  |  |
| 8. Intercom/two-way notification system works, and can be heard in all areas of campus. |  |  |  |
| 9. A key-control system is in place. |  |  |  |
| 10. Supervision Schedule is current. (Attach copy to this form.) |  |  |  |
| 11. Safety committee meets monthly & minutes are posted. | : | : |  |
| 12. OR-OSHA poster Job Safety & Health is displayed in prominent area. |  |  |  |
| 13. Medications for students are properly stored & secured. (Review log to verify.) |  |  |  |
| 14. A system is in place for staff, students & parents to anonymously report problems (hotline, designated staff, tip box, etc) |  |  |  |
| 15. District drill schedule is followed. Debrief sheets are utilized & given to District Safety Officer. |  |  |  |
| 16. A SAFE Team has been established & trained. (Attach copy of roles & responsibilities.) |  |  |  |

F-37

.

Santa Cruz County Safe Schools Consortia 				Safety & Security Assessment

| OFFICE & ADMINISTRATION (continued) | YES | NO | COMMENTS |
| --- | --- | --- | --- |
| 17. All classified staff have been trained on emergency procedures during current school year. |  |  |  |
| 18. A system is in place to train substitute staff on emergency procedures. |  |  |  |
| 19. First aid kits are properly stocked and readily accessible. |  |  |  |
| 20. Staff Development Plan is current. (Attach copy to this form.) |  |  |  |
| 21. A Behavior Team meets regularly to review behavior issues & behavior management systems. |  |  |  |
| 22. Other: |  |  |  |
| Areas of Recognition Record commendable areas of safe school conditions & staff members who are involved with these efforts. | Who Needs Recognition |
| ASSESSMENT FINDINGS Record & prioritize assessment findings below. Send a copy of this document to the LCSD Safety Coordinator. | Priorities | Work Order | 5 yr. Plan |

F-38